## Slide 1
CISSP – Chapter 7
Security Operations

## Slide 2: Key Points
Prudent Person Concept
  A person who takes responsible, careful, cautious and practical actions
  He how follows due care and due diligence
Operations Security
  All about ensuring People, Process, and Technology are adequately secured
  It is the practice of continual maintenance to keep the environment running at a necessary security level.
  Goal is to reduce the possibility of damage that could result from unauthorized access or disclosure
Administrative Management
  It is the most important piece of Operations management
  One aspect is dealing with personnel issues.
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 3: Administrative Management
Separation of Duties
  Objective is to ensure one person acting alone cannot compromise the security of a system in any way
  Activities should be broken down into different parts and given to different individuals or departments
  Collusion – more than one person having to work together to commit a fraud
  It helps prevent mistakes and minimizes conflicts of interest
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 4
  Separation of Privilege
    Similar to Separation of duties, but builds upon the principle of least privilege and applies it to applications and processes.
    Requires the use of granular rights and permissions
  Segregation of duties
    Goal is to ensure the individuals do not have excessive system access that may result in conflict of interest
    Most common implementation of segregation of duties policy is ensuring that security duties are separate from other duties

## Slide 5: Administrative Management
Need-to-know Access
  Access is granted only to data or resources that are needed to perform a task
  It is commonly associated with security clearances of subject
  Restricting access based on need-to-know helps protect against unauthorized access resulting in a loss of confidentiality
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 6: Administrative Management
Principle of Least Privilege
  Subjects are granted only the privileges necessary to perform the assigned task
  It protects confidentiality and Integrity
  Typically it is focused on user privileges, but it can also be applied to processes and applications
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 7: Administrative Management
Entitlement
  Amount of privileges granted to the users, typically during first time provisioning
Aggregation
  Amount of privileges the user collects over time
Transitive Trust
  Extends the trust relationship between two security domains to all of their subdomains
  It allows subjects from one domain to access objects in the other domain
Nontransitive trust does not extend the trust relationship to their subdomains. It enforces principle of least privilege and grants the trust to a single domain at a time
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 8: Administrative Management
Two-Person Control
  Also called two-man rule, requires approval of two individuals for a critical task
  It ensures peer-review and reduces opportunity for collusion and fraud
Split knowledge
  Combines the concept of separation of duties and two-person control
  No single person has sufficient privileges to compromise the security of the environment
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 9: Administrative Management
Job Rotation
  Employees are rotated through jobs
  Provides peer-review, controls fraud and enables cross-training
  It can act as a deterrent and detective control
Mandatory vacation
  Employees are required to take one-week or two-week vacations mandatorily
  Provides peer-review, helps detect fraud and collusion
  It can act as a deterrent and detective control
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 10: Administrative Management
Clipping Levels
  Predefined thresholds for the number of certain types of errors that will be allowed before the activity is considered suspicious
  To goal is to alert if a possible attack is underway within the network
  In most cases IDS software is used to track these activities and behavior pattern
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 11: Assurance Levels
Operational Assurance
  Concentrates on the products architecture, features, and functionality
  Examples: access control mechanisms, separation of privileged and use program code, auditing and monitoring capabilities, covert channel analysis, trusted recovery
Life-cycle Assurance
  Pertains to how the product was developed and maintained
  Ex: design specifications, clipping-level configuration, unit and integration testing, configuration management, and trusted distribution
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 12: Trusted Recovery
When an operating system or application crashes, it should not put the system in any type of insecure state
Types of failures can be classified as
  System Reboot
    Takes place after a system shuts itself-down in a controlled manner in response to a kernel failure
    It releases resources and returns the system to a more stable and safe state
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 13: Trusted Recovery
  Emergency System Restart
    Takes place after a system failure happens in a uncontrolled manner.
    It could be caused by lower privileged subject accessing memory segments that are restricted
    The kernel or user object could be in inconsistent state and data could be lost or corrupted
    System goes into maintenance mode and recovers from the actions taken
  System Cold Restart
    Takes place when unexpected failure happens and the regular recovery procedure cannot recover the system to a more consistent state
    Intervention by the user may be required to bring back the system to recover the system
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 14: After a system crash
Enter single user or safe mode:
  In this mode the system does not start the services for users or the network
  File systems typically remain unmounted and only the local console access is available
  Administrator must either be physically at the console or have deployed external technology to connect the system remotely (KVM)
Fix Issue and recover files
  In single user mode, administrator salvages damaged files and also attempts to find the cause of the shutdown to prevent it from happening
  Administrator then brings the system out of single user mode
Validate critical files and operations
  Administrator must ensure validate the contents of configuration files and ensure system files are consistent with their expected state
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 15: Input and Output Controls
Aspects to be considered with I/O
  Data entered into a system should be in correct format and validated
  Transactions should be atomic – they cannot be interrupted between the input provided and the output generated
  Transactions must be timestamped and logged
  Safeguards should be implemented to ensure output reaches the correct destination securely
  If a report has no information, it should contain “no output”
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 16: Service Level Agreements
It is an agreement between an organization and an outside entity, such as a vendor
  It stipulates performance expectations and often includes penalties if the vendor doesn’t meet these expectations
Memorandum of Understanding (MOU)
  Documents the intention of two parties to work together; it is less formal and doesn’t include monetary penalties if one of the parties doesn’t meet the responsibilities
Interconnection Security Agreement (ISA)
  If two or more parties plan to transmit sensitive data, ISA can be used to specify the technical requirements of the connection
  It provides information on how the two parties establish, maintain, and disconnect the connection
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 17: Managing Hardware and Software Assets
Hardware Inventories
  Radio frequency identification (RFID) methods significantly reduce the time needed to perform an inventory
  They are expensive than the barcode and barcode readers
Software Licensing
  Ensuring systems in the organization uses only authorized software installed
  Installing pirated software is not only a ethical violation but also both a liability risk and a potential vector for introducing malware
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 18: Managing Virtual Assets
The primary component in Virtualization is Hypervisor. It manages the VM, data storage, and virtual network components.
Virtual Machines (VM)
  VMs run as guest OS on physical servers. Physical servers will have extra processing, memory and disk storage to handle the VM Requirements
Software-defined Networks (SDN)
  Decouples the control plane from the data plane.
  Control plane uses protocols to decide where to send traffic and the data plane includes rules to decide whether traffic will be forwarded
Virtual Storage Area Networks (VSAN)
  Virtualizing the SAN environment bypassing the complexity of SAN
Notes: How presentation will benefit audience: Adult learners are more interested in a subject if they know how or why it is important to them.
Presenter’s level of expertise in the subject: Briefly state your credentials in this area, or explain why participants should listen to you.

## Slide 19: Physical Security - Locks
Inexpensive access control mechanisms that are widely accepted and used
They are considered delaying devices to intruders
Padlocks – can be used on chained fences
Preset locks – usually used on doors
Programmable locks – used on doors or vaults

## Slide 20: Mechanical Locks
Two main types of mechanical locks
  Warded lock
    It is a basic padlock. It has a spring-loaded bolt with a notch cut in it
    Cheapest locks, lacks any sophistication and easiest to pick
  Tumbler Lock
    Has more pieces and parts than a ward lock
    The key fits into a cylinder, which raises the lock metal pieces to the correct height so the bolt can slide to the locked or unlocked position

## Slide 21: Tumbler Locks
Pin Tumbler Lock
  Most commonly used tumbler lock
  It uses pins of varying lengths to prevent the lock from opening without the correct key
Wafer Tumbler Lock (disc tumbler lock)
  Small, round locks found on file cabinets.
  They use flat discs instead of pins inside the lock
  Does not provide much protection
Lever Tumbler Lock
  uses a set of levers to prevent the bolt from moving in the lock.
By Joram van Hartingsveldt - Own work, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=5177238

## Slide 22: Other Locks
Combination Locks
  Requires the correct combination of numbers to unlock them
Cipher Locks
  Also known as programmable locks
  Are keyless and use keypads to control
  Cost more than traditional locks, but has additional features like
    Lockout, duress alarm etc.

## Slide 23: Cipher Locks
Cipher Locks functionality include
  Door delay – if door is held open for a given time, an alarm will trigger
  Key override – specific combination can be programmed for use in emergency situation to override normal procedures
  Master keying – Supervisory personnel can change access codes and other features
  Hostage alarm – Duress alarm combination

## Slide 24: Circumventing Locks
Tension wrench
  A tool shaped like L and is used to apply tension to the internal cylinder of a lock
Racking
  To circumvent pin tumbler lock, a lock pick is pushed to the back of the lock and quickly slid out while providing upward pressure, this movement makes the pins fall into place
Lock bumping
  Force the pins in a tumbler lock to their open position by using a special key called a bump key

## Slide 25: Lock strength
Grade 1 = Commercial and industrial use
Grade 2 = Heavy-duty residential/light-duty commercial
Grade 3 = Residential/consumer
Three categories of Cylinders
  Low Security – No pick or drill resistance provided
  Medium Security – A degree of pick resistance provided
  High Security – Pick resistance protection through many different mechanisms

## Slide 26: Personnel Access control
Piggybacking
  Piggybacking is when another person follows through a door WITH the permission of the person who has received access
Tailgating
  Tailgating is when another person, whether an employee or not, passes through a secure door without the knowledge of the person who has gained legitimate access through the secure door
Best preventive measures are security guards, man-trap, user awareness

## Slide 27: Fencing
Delays intruders, psychological deterrent
Can provide crowd control, helps control access to entrances and facilities.
Can be costly and unsightly
Height:
  3 to 4 feet – deters casual trespassers
  6 to 7 feet – considered too high to climb
  8 feet (with barbed wire) – deter more determined intruder
Barbed wire tilted in is to deter someone exit the premises
Barbed wire tilted out is to deter someone enter the premises

## Slide 28: Fencing
Gauge of the fence wiring is the thickness of the wiring mesh
Lower the gauge number, larger the wire diameter
Mesh sizing is the minimum clear distance between the wires.
Fencing with smaller the mesh sizing and larger the gauge number are harder to cut
PIDAS fencing is a type of fencing that has sensors located on the wire mesh and at the base of the fence
PIDAS is very sensitive and can cause many false alarms

## Slide 29: Gates
Different Types
Class 1 – Residential Use
Class 2 – Commercial use, general public access is expected
Class 3 – Industrial use, Limited public access is expected
Class 4 – Restricted use, no public access, monitored via CCTV or guards

## Slide 30: Lighting
The higher the lamps wattage, the more illumination it provides
Zones of illumination coverage should overlap
Exterior lights provide less illumination intensity than interior working lights
If the light is going to bounce of dark places, more illumination is required, if it bounces of clean concrete and light coloured surface then not much illumination is required
Lighting should be directed towards area where potential intruders can gain access
Glare protection – guards should be in shadows or under low illumination
Lights should be directed outward
Continuous lighting – an array of lights that provides even amount of illumination across an area
Controlled illumination – should erect light such a way that it does not blind others close by
Standby lighting – configure lighting to turn on and off, so potential intruders think different areas of the facility are populated
Responsive lighting – lights get turned on specific areas when IDS detects suspicious activities

## Slide 31: CCTV
CCTV is made up of camera, transmitter, receiver, recording system and a monitor
It sends captured data via the cameras transmitters to the monitors receiver via coaxial cable
The most common type of attack against CCTV is the replay attack
Cameras use Charged coupled devices (CCD)
  Electrical circuit that receives input light from the lens can convert to electronic signal. Images are focused through a lens on to the CCD chip

## Slide 32: CCTV
Lens Types
  Fixed Focal Length
  Zoom
Focal length defines its effectiveness in viewing objects from a horizontal and vertical view
Shorter focal length provides wider-angle of view
Fixed focal length lens does not allow the user to change the area that fills the monitor
Optical zoom lens allow the viewer to change the field of view while maintaining the same number of pixels in the resulting image

## Slide 33: CCTV
Depth of field
  Refers to the portion of the environment that is in focus when shown in the monitor
  Small Depth of field is called Shallow focus and large Depth of field is called deep focus
  Depth of field varies depending on the size of the lens opening, distance of the object, and the focal length of the lens
  Depth of field increase when
    Subject distance increases
    Size of lens opening decreases
    Focal length decreases

## Slide 34: IDS
Can be used to detect intruders by employing Electromechanical or volumetric systems
Volumetric systems are more sensitive and can detect changes in subtle environmental characteristics like vibration, microwaves, infrared values and photoelectric changes
Electromechanical Systems:
  Work by detecting a change or break in a circuit.
  Vibration detectors can detect movement on walls, screens, ceilings when the fine wires embedded within the structure are broken
  Magnetic contact switches can be installed on windows and doors
  Pressure pad is placed underneath a rug or carpet and is activated during off-hours.

## Slide 35: IDS
Photoelectric system
  Detects change in the light beam, and hence can be used only in windowless environments
  Cross-sectional beams can be used to extend the light beams across an area by using hidden mirrors to bounce the beam
Passive infrared system
  Identifies change of heat waves in the area
Acoustic Detection
  Uses microphones installed in doors, windows, walls; monitors for sounds during forced intrusion
  Its very sensitive and cannot be used in open areas
  Vibration sensors are similar to this and are commonly used by financial institutions in vaults

## Slide 36: IDS
Wave-pattern motion detectors
  These devices generate wave patters that is sent over a sensitive area and reflected back to a receiver.
  Uses different frequencies to monitor
Proximity detector or capacitance detector
  Emits measurable magnetic fields and looks out for disruption
  It is used to protect specific objects versus protecting a whole room or area
Electrostatic IDS
  Creates an electrostatic magnetic field

## Slide 37: Tracking Software
Widely accepted best practices
  Application Whitelisting
  Using Gold Masters (Ghost Image)
  Enforcing least privilege
  Automated Scanning

## Slide 38: Change Control Process
Change control is important for product not only during its development but throughout its lifecycle
Change must be effective, orderly, timely
Change control Steps
  Request for change
  Approval of the change
  Documentation of the change
  Tested and presented
  Implementation
  Report change to management

## Slide 39: Network and Resource Availability
Below are some options to ensure availability of network resources
  Redundant Hardware
    HA/ Hot swapping methods allows failover or change of hardware components without causing downtime to the environment
  Fault-tolerant Technologies
    Technologies that will try to correct itself after a failure. It is the most expensive solution, primarily used in mission critical infrastructure
  Service Level Agreements (SLA)
    Helps in maintaining a agreed service level with internal as well as external providers
  Solid Operational Procedures
    Operational procedures, training and continuous improvement are all important aspects in maintaining a healthy environment

## Slide 40: Mean Time Between Failure (MTBF)
Measure of how long an equipment will operate reliably
Calculated by taking the average of time between failures
Vendor normally provides this value
Its is used as a benchmark for reliability
MTBF implies the device is repairable, if it is not there, then it means Mean Time to Failure (MTTF)
Mission critical systems will have a higher MTBF value

## Slide 41: Mean Time to Repair (MTTR)
Measure of time to get a device repaired and back into production
MTTR may pertain to fixing a component, replacing the device or refers to an SLA
If the MTTR is too high, then redundancy should be used for critical devices
Systems that cannot be allowed to be down should have redundant systems with high MTBF values.

## Slide 42: Single Point of Failure
If a single device failure brings down a segment or the whole network, then the device is considered a single point of failure
The defences are
  Proper maintenance
  Regular backup
  Redundancy
  Fault tolerance

## Slide 43: RAID
Redundant Array of Independent Disks is a technology used for redundancy and/or performance improvement.
RAID | Activity | Name
0 | Data stripped over serval drives, no redundancy or parity. If one volume fails entire volume may become unusable, primarily used for performance improvement | Stripping
1 | Data is written to two drives at the same time. If one fails, the other drive has the same data | Mirroring
2 | Data stripping over all drives at the bit level, Parity data is created with Hamming code. Not used in Production today | Hamming code Parity
3 | Data stripping over all drives, parity code in in one drive. If one drive fails it can be reconstructed using parity code | Byte-level parity
4 | Same as RAID 3, parity is created at block level instead of byte level | Block-level parity
5 | Data is written in disk sector units to all drives. Parity is also written to all drives. Ensure no single point of failure | Interleave parity
6 | Similar to RAID 5 with added Fault tolerance, second set of parity added to all drives | Double parity
10 | Data is mirrored and stripped simultaneously across several drives and can support multiple drive failure | Stripping and Mirroring

## Slide 44: Direct Access Storage Device (DASD)
Magnetic storage devices which have been used in mainframe and minicomputer environments
RAID is a DASD
In DASD, an point ca be reached directly, whereas in SASD every point in between the current and desired position must be traversed in order to reach the desired position

## Slide 45: Massive Array of Inactive Disks (MAID)
Used in environments where several hundred terabytes of data storage is required but it carries mostly write operations.
In a MAID, rack-mounted disk arrays have all been powered down with only the disk controller alive.
When an application asks for data, the controller powers the appropriate disk drive, transfers the data and then powers the drive down
This helps in decreased energy consumption and lengthier service life of the disk drives

## Slide 46: Redundant Array of Independent Tapes (RAIT)
Similar to RAID, but uses Tape drives
Tape storage is low-cost storage option but is slow compared to disk storage
Fits in environments where very large write-mostly storage applications , appropriate performance and reliability is required
Data is stripped in parallel to multiple tape drives with or without redundant parity drive. This provides high capacity at low cost

## Slide 47: Storage Area Network (SAN)
Consists of numerous storage devices linked together connected through a high speed private network and storage specific switches
SAN provide redundancy, fault tolerance, reliability, backup and allows interaction as one virtual entity
Not commonly used in small or medium sized companies.
Tape drives, optical junkboxes, and disk arrays may also be attached to and referenced through SAN

## Slide 48: Clustering
It is a fault-tolerant technology similar to redundant serves, except that each device takes part in processing services that are requested
It provides availability, scalability, load balancing, redundancy and failover.
Clustering is a logical outgrowth of redundant servers
In a cluster a master controller has control over allocation of resources and users to cluster node.

## Slide 49: Grid computing
Load-balanced parallel means of massive computing implemented with loosely coupled systems that may join or leave the grid randomly
Nodes do not trust each other and no central controller is available
Grid computing cannot be used for applications that require tight interactions and coordinated scheduling among multiple workload units.
Sensitive data should not be processed over a grid and this is not the proper technology for time-sensitive applications.

## Slide 50: Backup – Hierarchical Storage Management
HSM provides continuous online backup functionality
It combines hard disk technology with the cheaper and slower optical or tape juke-boxes
It dynamically manages the storage and recovery of files, which are copied to storage media devices that vary in speed and cost
This was created to save money and time

## Slide 51: Contingency Planning
Contingency planning defines what should take place during and after an incident.
It addresses how to deal with small incidents that do not quality as disasters.
There should be three instances of the contingency planning document: one at the premises, a copy in the same site but in a fireproof safe, an another copy in the offsite location
It should not be trusted until they are tested

## Slide 52: Intrusion Detection Systems
Major aspect of IDS are
  False Positive – detecting intrusions when none happened
  False Negative – Missing intrusions as benign
Important step to reduce errors is to baseline the system
Baselining refers to process of establishing the normal pattern of behaviour for a given network or system
White-list and black-lists can be used to improve the efficacy of IDS

## Slide 53: Patch Management
Centralized Patch Management is considered the best practice for security operations
The common approaches are
  Agent Based
    An update agent is installed in every device
  Agentless
    One or more device remotely connects to each host for patch update and compliance
  Passive
    Passively monitor network traffic to infer the patch levels on each networked service. This is the least effective approach

## Slide 54: Honeypot
Honeyclients
  Synthetic applications meant to allow an attacker to conduct client-side attacks
  Very important in honey family, because most of the successful attacks are client-side
  Different flavours are there
    Highly Interactive – requires humans to operate them
    Low interaction – their behaviour is completely automated

## Slide 55: Incident Management Process
7 Phases of Incident Management Process
  Detect
  Respond
  Mitigate
  Report
  Recover
  Remediate
  Learn
Incident management includes both proactive and reactive processes.

## Slide 56: Incident Response Teams
3 different types of incident response teams
  Virtual team
    Made up of experts who have other duties.
    This introduces slower response times and the members have to leave their current roles to address incidents
  Permanent team
    Dedicated only for incident response
    Costly but response is faster
  Hybrid team
    Consists of both permanent and virtual staff

## Slide 57: Incident Response Teams
The team should have the following
  Contact of outside agencies
  Roles and responsibilities
  Call tree
  List of forensic experts to call
  Steps to secure and preserve evidence
  List of items to be included in management report
  Description of how systems should be treated

## Slide 58: Incident Handling
IH should be closely related to Disaster Recovery
Primary goal is to contain and mitigate any damage caused by an incident and to prevent any further damage
IH should also be closely linked with company security policy and awareness program
The Incident reporting process should be centralized, easy to accomplish, convenient and welcomed

## Slide 59: Incident Management stages
Detection
  Most important step in responding to an incident
  Properly tuned detection mechanisms will help in identification of incidents
Response
  Early stage of response is to figure out what information is needed to restore security
  The goals are to figure out who did it, how they did it, when they did it and why
  Biggest challenge for response teams is the dynamic nature of logs.
  The response team members should have variety of skills

## Slide 60: Incident Management stages
Mitigation
  Goal is to prevent or reduce any further damage from the incident
  Proper mitigation strategy buys time for investigation and determination of root cause
  Mitigation strategy should be based on the category of the attack, the assets affected by the incident and the criticality of those assets.
  The strategies can be proactive or reactive
Reporting
  Reporting occurs during the life cycle of the incident at various stages and various levels
Recovery
  Returning all systems and information to known-good state
  It is very important to gather all evidences before recovering the systems and information

## Slide 61: Incident Management stages
Remediation
  Based on the investigation decide the permanent solutions to prevent occurrence of similar incident
  Identification of Indicators of Attack (IoA) that can be used to detect similar incidents in future
  Also gathering the Indicators of Compromise (IoC) which will tell if the attack has been successful and security is compromised
Learning
  Review the incident, how it was handled, carry post-mortem analysis
  This phase can help make adjustments to response strategies

## Slide 62: Disaster Recovery
Key Points
RTO – Recovery Time Objective
  The maximum time within which a business process must be restored to an acceptable service level after a disaster
  RTO value should be lesser than MTD
  RTO deals with getting the infrastructure and systems back up and running
MTD represents the time after which the business cannot recover
Work Recovery Time (WRT)
  Remainder of the overall MTD value after RTO has passed
  WRT deals with restoring data, testing process, and then making the production process live

## Slide 63: Disaster Recovery
RPO – Recovery Point Objective
  It is the acceptable amount of data loss measured in time.
  Represents the earliest point in time to which data must be recovered
  The higher the value of data, the lower the RPO value
The actual RTO, MTD, RPO values are derived from the Business impact assessment (BIA)
Data type | RPO | RTO
Mission Critical | Continuous to 1 minute | Instantaneous to 2 minutes
Business Critical | 5 Minutes | 10 Minutes
Business | 3 Hours | 8 Hours

## Slide 64: Facility Recovery
Three main types of disruptions
  Nondisaster
    Disruption in a service that has significant but limited impact on the conduct of business operations
  Disaster
    An event that causes the entire facility to be unusable for a day or longer
  Catastrophe
    Major disruptions that destroys the facility altogether
Recovery Alternatives
  Redundant site
  Outsourcing
  Rented offsite
  Reciprocal agreement

## Slide 65: Leased or Rented Offsite Facilities
Hot Site
Fully configured and ready to operate in few hours
Only missing resources will be data and people
Warm Site
Leased or rented facility partially configured with some equipment such as HVAC, infrastructure components but not actual computers
Most widely used model
Cold Site
Facility that supplies the basic environment, electrical wiring, air-condition and flooring
All the Infrastructure equipment's need to be shipped and configured.
Best for companies that require immediate availability
Many providers support annual testing
It is the most expensive of all options
May not be suitable for companies that operate custom/proprietary hardware and software
Less expensive than host site and can be up and running within a reasonably acceptable time period.
Better choice for companies that operate custom/proprietary hardware and software
Much of the equipment must be purchased, delivered and configured at warm site
Annual testing is usually not available
No systems or software will be available
Cheapest of the options available
It may take days or weeks to bring up the facility
Cold sites are often used as backup for call centers, manufacturing plants
Can provide long term solution than hotsite
Tapes should be brought back to original site for testing

## Slide 66: Reciprocal Agreements
Alternate site approach between companies that work in similar field or has similar technology
Cheaper way than other options, but not always the best choice
It will only provide short term solution
The mixing of operations may introduce lot of security risks
Careful testing needs to be conducted to determine if one company can support the other during disaster
These agreements are not enforceable

## Slide 67: Redundant Sites
Mirror sites that are equipped and configured exactly like the primary site
The business processing capability between the two can be completely synchronized
Both the sites are owned by the company and hence has inherent advantages
It is the most expensive backup facility

## Slide 68: Rolling Hot Site
Mobile hot site behind a large truck or a trailer converted into a data processing or working area
It is a portable and self-contained data facility
Another similar solution is prefabricated building

## Slide 69: Backup Strategies
Full Backup
All data is backed up and saved
Recovery is just one step process; but the backup and recovery process could take a long time
Differential Backup
Backup the files that have been modified since the last full backup
This process does not change the archive bit value
Incremental Backup
Backups all files that have been modified since the last full or incremental backup
This process clears the archive bit and set to 0
During full backup the archive bit is cleared and set to 0
When data needs to be restored, the full backup is laid down first, then the most recent differential backup is put on top of the full backup
Takes more time in backing up phase but takes less time to restore
Takes less time to backup than differential backup but takes more time for restoration

## Slide 70: Backup Strategy
If an organization wants the backup and restoration processes to be simplistic and straightforward, it can use Full backup
It is very important to not mix the differential and incremental backup.
It is very important that the backup data is restored and tested at regular frequencies

## Slide 71: Electronic Backup Solutions
Disk duplexing
  More than one disk controller is in use. If one controller fails the other is ready and available
Disk Shadowing
  Data is dynamically created and maintained on two or more identical disks.
  Used to ensure the availability of data and to provide a fault-tolerant solution by duplicating hardware and maintaining more than one copy of the information
  It provides online backup storage
  It can boost read operation performance
  It is an expensive solution because two or more hard drives are used to hold the exact same data
  Companies choose this model if fault tolerance is required

## Slide 72: Electronic Backup Solutions
Electronic Vaulting
  Makes copies of files as they are created/modified and periodically transmits them to an offsite backup site
  Method of transferring bulk information to offsite facilities for backup
  The transmission happens in batches (does not happen in real time)
Remote Journaling
  Method of transmitting data offsite usually by moving the journal or transaction logs to the offsite facility not the actual files
  These logs contains the delta that has taken place on the original files
  Journaling is efficient for database recovery, where only the reapplication of a series of changes to individual records is required to resynchronize the database.
  Takes place in real-time and only transmits the file deltas

## Slide 73: Electronic Backup Solutions
Data repositories commonly have replication capabilities, so that when changes take place to one repository, they are replicated to all of the other repositories.
Replication can be asynchronous or synchronous
Asynchronous – Primary and secondary data volumes are out of sync. Synchronization takes place in seconds, minutes, hours, days, depending upon the technology in use
Synchronous – primary and secondary repositories are always in sync

## Slide 74: High Availability
Combination of technologies and process that work together to ensure that some specific thing is always up and running
Redundancy, failover, fault tolerance capabilities increase the reliability of a system or network
High reliability allows for high availability

## Slide 75: Insurance
The decision to go for insurance or not should be based on the BIA
The goal is to ensure the insurance coverage fills in the gaps of what the current preventive countermeasures cannot protect against
Cyber Insurance
  New type of coverage that insures losses caused by DoS, Malware, hacking, etc.
Business Interruption Insurance
  If the company is out of business for a certain length of time, insurance company will provide for expenses.

## Slide 76: Restoration and Recovery
Restoration team is responsible for getting the alternate site into a working and functioning facility
Salvage team is responsible for getting the primary facility
  Backup data from the alternate site and restore it within the new facility
  Carefully terminate contingency operation
  Securely transport equipment and personnel to the new facility
The least critical functions should be moved back to primary facility first. This helps evaluate the operational ready state of the facility before the we move the mission critical applications

## Slide 77: BCP Types
Plan type | Description
Business Resumption Plan | Focuses on recreating the necessary business process instead of focusing on IT Component. It is process oriented instead of procedural-oriented
Continuity of Operations Plan (COOP) | Establishes senior management and a headquarters after a disaster. Outlines roles and authorities, orders of succession
IT Contingency Plan | Plan for systems, networks and major application recovery procedures after disruptions.
Crisis Communication Plan | Includes internal and external communication structure and roles. Identifies specific individuals who will communicate with external entities
Cyber Incident response plan | Focuses on malware, hackers, intrusions, attacks and other security issues.
Disaster Recovery plan | Focuses on how to recover various IT mechanisms after a disaster.
Occupant emergency Plan | Establishes personnel safety and evacuation procedures

## Slide 78: Computer Forensics
Digital Evidence
  It has a very short lifetime and must be collected first
  Most fragile and volatile information must be collected first
Best Procedure
  Remove the system from the network, dump the contents of the memory, power down the system, and make a sound image of the attacked system and perform forensic analysis on this copy
Dumping the memory contents is the crucial step
Documentation is the most critical component in an investigation process

## Slide 79: Motive, Opportunity and Means
Motive
  Who and why of a crime
  May be induced by either internal or external conditions
  Understanding the motive of a crime is an important piece in figuring out who would engage in such an activity
Opportunity
  Where and When of a crime
  Opportunities usually arise when certain vulnerabilities or weakness are present
Means
  Pertains to the abilities a criminal would need to be successful

## Slide 80: Computer Criminal Behaviour
Psychological crime scene analysis (profiling) can also be conducted using the criminal’s MO and signature behaviours.
Profiling provides insight into the thought process of the attacker and can be used to identify the attacker or at the very least, the tool used to conduct the crime
Locard’s Exchange principle states the criminal leaves something behind at the crime scene and takes something with them.

## Slide 81: Investigative Assessment Types
Network Analysis
  Traffic analysis
  Log analysis
  Path tracing
Media Analysis
  Disk Imaging
  Timeline analysis
  Registry analysis
  Slack space analysis
  Shadow volume analysis
Software Analysis
  Reverse engineering
  Malicious code review
  Exploit review
Hardware/Embedded device review
  Dedicated appliance attack points
  Firmware and dedicated memory inspections
  Embedded operating systems, virtualized software, hypervisor analysis

## Slide 82: Forensic Investigation Process
Identification
Preservation
Collection
Analysis
Presentation
Decision
Examination

## Slide 83: Controlling the crime scene
Steps that should take place to protect the crime scene
  Only allow authorized individuals to work on the crime scene
  Document who is there in the crime scene
  Document who were the last individuals to interact with the systems
  If the crime scene does become contaminated, document it

## Slide 84: Forensic process best practices
The original image must be a bit-level copy, sector by sector, to capture deleted files, slack spaces and unallocated clusters
The original image is called the primary image which must be stored in a library
Investigator should only work from a copy of the primary image called the secondary image
These should be timestamped to show when the evidence is collected
Before collecting the images to a new media it is important to ensure the destination is sanitized

## Slide 85: Chain of Custody
A history that shows how evidence was collected, analysed, transported, and preserved in order to be presented in court
Chain of custody should follow evidence through its entire life cycle
When copies of data need to be made, the copies must be able to be independently verified and must be tamperproof
Chain of custody evidence dictates that all evidence be labelled with information indicating who secured and validated it
Magnetic disk surfaces should not be marked on
The most common reason for improper evidence collection are lack of an established incident response team, lack of an established incident response process, poorly written policy or a broken chain of custody
Dead forensics – when the investigation is done on static data in lab
Live forensics – when the investigation is done in field and includes volatile data

## Slide 86: Evidence – Admissible in court
Computer-related documents are considered hearsay – meaning they are second-hand evidence
Hearsay evidence is not normally admissible in court unless it has first-hand evidence that can be used to prove the evidence accuracy
The value of evidence depends on the genuineness and competence of the source
Business records exception rule:
  Under this rule, a court could admit any records of a business
    That were made in the regular course of business
    That the business has a regular practice to make such records
    That were made at or near the time of the recorded event
    That contain information transmitted by a person with knowledge of the information within the document

## Slide 87: Evidence – Admissible in court
The evidence should be relevant, complete, sufficient and reliable to the case at hand
Relevant | Must have reasonable and sensible relationship to the findings
Complete | It must present the whole truth of the issue
Sufficient (believable) | It must be persuasive enough to convince a reasonable person of the validity of the evidence
Reliable | It must be consistent with the facts; must be factual and not circumstantial

## Slide 88: Evidence Lifecycle
Collection and Identification
Storage, Preservation and Transportation
Presentation in Court
Return of evidence to owner

## Slide 89: Liability Scenarios
To prove negligence in court, the plaintiff must establish that the defendant had a legally recognized obligation to protect the plaintiff from an unreasonable risk
Proximate cause – is an act or omission that naturally and directly produces a consequence. It is the superficial or obvious cause for an occurrence

## Slide 90
Karthikeyan Dhayalan
MD & Chief Security Partner
www.cyintegriti.com